SmartGuard Pro (v4.3h) User Manual


About This Manual
4

Audience
4

How to Use This Manual
4

CHAPTER 1
5

1.SMARTGUARD Pro OVERVIEW

1.1Introduction
5

1.2 Features
5

CHAPTER 2

2. INSTALLING SMARTGUARD Pro

2.1 Hardware Requirement
6

2.2Software Requirement
6

2.3 Installing SMARTGUARD Pro
6

CHAPTER 3

3.  BASIC FOR USING SMARTGUARD Pro

3.1The SMARTGUARD Pro Screen Format
7

3.2 Using Keyboard to Run SMARTGUARD Pro
8

CHAPTER 4

4.  STARTING SMARTGUARD Pro
9

4.1 Running and Exiting SMARTGUARD Pro
9

CHAPTER 5

5. SYSTEM CONFIGURATION PROCEDURE
12

5.1 Controller/Door Setting
12

5.2 Timer Set, Time Zone, Holiday List, Door Accessibility and Floor Accessibility
12

5.3 Card Holder Configuration
12

5.4 Down Loading 
13

5.5How Door Access Work
13

CHAPTER 6

6.  SMARTGUARD Pro MENU FUNCTION
14

6.1  System  Menu
15

6.1.1System Menu :  Device->Site List
15

6.1.2 System Menu :  Device->Controller
16

6.1.3  System Menu :  Device->Door
17

6.1.4.1 System Menu :  Access Setting ->Door Interlocking
19

6.1.5 System Menu : Software Setting
20

6.2  Data  Menu
21

6.2.1.1 Data Menu : Time Setting -> Timer Set
21
6.2.1.2 Data Menu : Time Setting -> Timer Zone
22

6.2.1.3 Data Menu : Time Setting -> Holiday I or II
23
6.2.1.4 Data Menu : Time Setting -> Working Hour Setting
24
6.2.1.5 Data Menu : Card Users-> Floor Zone
26
6.2.1.6Data Menu :  Card Users ->Department
27

6.2.1.7 Data Menu : Card Users-> Job Title
27
6.2.1.8 Data Menu : Card Users-> Door Accessibility
28
6.2.1.9 Data Menu : Card Users-> Floor Accessibility
31
6.2.1.10 Data Menu : Card Users-> Leave Type
32
6.2.1.11 Data Menu : Card Users-> Staff Leave Dates
33
6.2.1.12 Data Menu : Card Users-> Card User
34
6.2.1.13 Data Menu : Door Setting -> Individual Door
37
6.2.1.14 Data Menu : Door Setting -> Global Door
39
6.2.2 Data Menu : Floor Plan
41
6.2.3.1 Data Menu : Software User->Command Accessibility
43
6.2.3.2. Data Menu : Software User->Software User List
44
6.2.3.3. Data Menu : Browse Daily Time Attendance Record
45
6.2.3.4. Data Menu: Browse Monthly Time Attendance Record
47
6.3 Report  Menu
48
6.3.1.1 Report Menu : Software Data->Time Set
48
6.3.1.2 Report Menu : Software Data->Time Zone
49
6.3.1.3 Report Menu : Software Data->Holiday I and II
50
6.3.1.4 Report Menu : Software Data->Depatment
51
6.3.1.5 Report Menu : Software Data->Job Title
52
6.3.1.6 Report Menu : Software Data->Door Accessibility
53
6.3.1.7 Report Menu : Software Data->Card User
54
6.3.1.8 Report Menu : Software Data->Controller
56
6.3.1.9 Report Menu : Software Data->Door
57
6.3.2.0 Report Menu : Software Data->Global Door
58
6.3.2.1 Report Menu :Card Access Transaction
59
6.3.2.2 Report Menu : Card Access Transaction -> Card Holder Tracking
60
6.3.2.3 Report Menu : Card Access Transaction -> Card Holder Distribution
62
6.3.2.4 Report Menu : Access Transaction ->Log Transaction
63
6.3.2.5 Report Menu :Time Attendance Transaction
66
6.3.2.6 Report Menu :Card Access Transaction -> Load Saved Report
68
6.4 Download Menu
69
6.4.1 Download Menu : Reload Settings to Controller 
69
6.4.2 Download Menu : Update Card List in Controller 
71
6.4.3 Download Menu : Security Off
72
6.4.5 Download Menu : Pulse Door Open
73
6.5 Tools  Menu
74
6.5.1Tools Menu : Change Card PIN
74
6.5.2Tools Menu : Change Password
75
6.5.3 Tools Menu :Data Exporter  Transaction Log…………………………………………….75
6.5.4  Tools Data Menu :House Keeping  Back-up and Restore Data
76
6.5.4.1 Tools Data Menu :House Keeping  Clear Transaction Files
77
6.5.4.2  Tools Data Menu :House Keeping  Re index Database
77
6.6 About  Menu
78
6.7 Quit Menu: Log Out
78
6.7 Quit  Menu : Short Down
78
6.8On-line Display Screen
79
6.8.1 Latest All Event List
80
6.8.2  Latest All Alarm List
81
6.8.3 Floor Plan Display
82
6.8.4 Door List Display
83
6.8.5 Controller List
84
6.8.6 Card Holder Transaction
85
Appendix A Procedure of create Own Company Logo 
8
6

About This Manual

This manual will explains how to use SMARTGUARD Pro Door Access System software. The software is used in a compatible IBM PC to monitor and control the CASTLE controller.

Audience

We assume that you are familiar with CASTLE controller as well as your PC’s hardware. It does not mean that you have full knowledge of the functions of CASTLE system, however you should have CASTLE controller User/Technical Manual when you use this manual.

How to Use This Manual

The following paragraphs tell you where to find the information when you need it. It is important that you read this section in order to use this manual to its full potential.

CHAPTER 1 - SMARTGUARD Pro OVERVIEW

Overview and introduction of SMARTGUARD Pro software.

CHAPTER 2 - INSTALLING SMARTGUARD Pro

This section describes the hardware and software that you need to install SMARTGUARD Pro and how to install it.

CHAPTER 3 - BASICS FOR USING SMARTGUARD Pro

For beginner you should read through this section before continuing.

CHAPTER 4 - STARTING SMARTGUARD Pro

This section describes how to execute and exit SMARTGUARD Pro application.

CHAPTER 5 - SYSTEM CONFIGURATION PROCEDURE

Basic steps on how to configure the SMARTGUARD Pro Software.

CHAPTER 6 - SMARTGUARD Pro MENU FUNCTIONS

Complete menu of SMARTGUARD Pro Application 

CHAPTER 1

1. SMARTGUARD Pro OVERVIEW

1.1 Introduction

The SMARTGUARD Pro Security software is used to control Cass Tech (M) Sdn. Bhd. SMARTGUARD Door Access System.

The SMARTGUARD Pro Security software can be interfaced up to a maximum of 32 CASTLE controllers. Each CASTLE controller can support up to a maximum of 8 doors (depend on the model).  This means that the SMARTGUARD Pro software can monitor and control up to a maximum of 256 doors.

This software is designed to help user to manage their Door Access System.  It is a menu driven and graphical software where any ordinary PC user's can use it with minimum supervision. The controlling of SMARTGUARD Pro system can also be done on the controller itself, but this software allows you to perform a wide range of supervisory/control function centrally from one computer, hence simplifying the jobs of the system administration. All the controllers of SMARTGUARD Pro system are linked to the PC where the software resides in.

1.2 Features

SMARTGUARD Pro software was designed for ease of use by all levels of user. This software has a host of features, which has not been found in most other expensive systems. The following is some of the features found in SMARTGUARD Pro system.

· Controls up to 32 CASTLE controllers.

· Manage up to 256 doors.

· Manages Castle – 2S/2k, 4S/4k, 8S/8k and 4T controller for Door Access, Lift Access, time attendance,  Alarm Monitoring and Car Parking System

· User definable operation time set and time zone.

· Informative transaction report.

· Automatic transaction data logging.

· 98 sets of user programmable access level and 2 pre-defined access.

· Configurable menus access level.

· Different type of alarms beeping sound.

· Dynamic graphical floor plan display.

· User configurable floor plan setting.

· User configurable floor zone setting.

· User configurable company name and logo setting.

· Extra column for user information setting.

· Card holder Photo Image feature

· Unlimited cardholder records (limited to hard disk spaces).

· Pick and choose reference field features.

· Multi search key order function.

· Remote security on/off the door.

· Time attendant report generation.

· Card holder tracking.

· House Keeping utilities – outdated transaction purging, database backup and restore.

· Uses DBASE IV file format as transaction storage for easy integration.

· User friendly, makes card access system easy to manage.

· On-line display screen.

· Floor plan containing the highest priority alarm will be bought up when alarm occurs.

· Online transaction printing by using Dot Matric Printer.

· Alarm events trigger PC buzzer.

· Comprehensive report generation for all data setting, transaction report and time attendance report.

CHAPTER 2

2. INSTALLING SMARTGUARD Pro

This section describes the hardware and software that you require to install SMARTGUARD Pro software, and how to install it.

2.1 Hardware Requirement

The following hardware specification is required to operate the SMARTGUARD Pro software.

· An IBM PC/Compatible with a Pentium 233MHz PC system with at least 32 MB RAM memory or better.

· At least one free serial communication port for connecting to PCI-PRO Interface Unit.

· Minimum of 100 MB frees disk space for program files

· SVGA display system capable for displaying 800x600 256 colors

2.2 Software Requirement

The SMARTGUARD Pro software is written to execute under MS-Win95 operating system, in order to install the SMARTGUARD Pro software, the user is required to prepare a PC with MS-Window environment before the SMARTGUARD Pro installation take place.

2.3 Installing SMARTGUARD Pro

An installation diskette of SMARTGUARD Pro Software is given when you purchase the software.  SMARTGUARD Pro software consists of 4 diskettes. To start the software installation, please perform the following procedures.

· Turn on the computer.

· Startup the MS-Win95 operating system.

· Insert the SMARTGUARD Pro installation disk 1 into the floppy drive on your PC.

· Choose RUN command from the MS-Win95 startup menu.

· Key in the A:\SETUP.EXE and press ENTER.

· The installation program will begin to install. The user friendly installation program will guide the user all the way through out the whole installation process.

· Upon completed the software installation, the user can execute the SMARTGUARD Pro runtime module by selecting it from MS-Win95 Start up menu under PROGRAMS menu item.

CHAPTER 3

3.  BASIC FOR USING SMARTGUARD Pro 

This section provides some basic information that you will need to know in order to operate the SMARTGUARD Pro software. If this is the first time that you have used SMARTGUARD Pro, you should read through this section before continuing.

The section describes the following:

- The SMARTGUARD Pro Screen Format

- Using keyboard to run SMARTGUARD Pro

3.1 The SMARTGUARD Pro Screen Format

The screen below shows the layout of SMARTGUARD Pro screen format on PC monitor when the software is executed.

[image: image94.wmf]
The display screen consists of 3 main areas, namely, the Menu bar. It main function is to provide an interface for the command option, where the user can execute. 

The middle part of the screen is the on-line information data display area.  It can be sub-divided into 5 areas, which are Latest All Events List, Latest Alarm Event List, Floor Plan, Door List and Controller List.

Lastly, the bottom portion of the screen is to reflect the status information, such as log in user information, last happened events, current date/time, and available hard disk spaces and currently being processed CASTLE controller.

3.2 Using Keyboard to Run SMARTGUARD Pro

The SMARTGUARD Pro software users can select any menu command on the menu bar with the keyboard. Press ALT to select the menu bar.  Press the letter that is underlined in the menu name that contains the command you want. In the menu that appears, press the letter underlined in the command name that you want.

For the on-line information data display area, press CTRL+TAB; repeat until the toolbar you want is selected.

	KEY
	USAGE

	   key
	Move up the submenu

	   key
	Move down the submenu

	ENTER  key 
	Execute the highlighted menu item


Beside the standard key operation, SMARTGUARD Pro software has included two special function keys. (F8 - Alarm Acknowledgement and F9 – Find Card). The user can apply these function keys in case an alarm occurs and to locate a cardholder current location.

For alarm acknowledgement, during an alarm happened the user is required to press the F8 key to acknowledge the alarm event and silence off the beeping.

For locating a cardholder location in the premises, he/she can select the F9 key to search for the cardholder location. 

CHAPTER 4

4.  STARTING SMARTGUARD Pro

4.1 Running and Exiting SMARTGUARD Pro

To run the SMARTGUARD Pro software, you must first load up MS-Win95, move your mouse pointer to MS-Win95 start up menu and select the SMARTGUARD Pro menu item from the PROGRAM list.

For the first time to run the system, SMARTGUARD Pro software will prompt the user to create the runtime databases. In order to execute the software, user is required to do so.

[image: image1.png]. ]SmartGuard Pro ver. 5.5.1.9 Demo Version [1 Controller Version]





Besides that, a Database Re-index Inquiry pop-up screen will be shown as below, the user is advised to choose re-index database function. This is to allow the SMARTGUARD Pro software rebuild a new index for all the database.

[image: image42.wmf] 

Upon finished the database re-index process, the screen below will be displayed. The user is required to select the main comm port. With the right comm port setting, the user is able to grant access to the software. 

[image: image43.wmf]
Upon finished the select comm port process the SmartGuard Pro will check the software version. After the software version, the Login screen as show in below will appear after the Check Software Version.  For first time running the system, user is required to input the system default setting by typing in Castle for both user ID and password fields.

[image: image2.png]X concel |





After login, the screen below will be displayed. This Time Synchronization screen will ask user to check for the PC. The reason SmartGuard Pro prompt out this message is to ensure the system time and the PC time is SAME, therefore the system can generated the accurate report.

[image: image44.wmf]
To exit SMARTGUARD Pro software, the user can select “QUIT” command from the menu bar.

[image: image45.wmf][image: image46.wmf]
CHAPTER 5

5. SYSTEM CONFIGURATION PROCEDURE

This chapter outline the basic steps involved in configuring the SMARTGUARD Pro software.

5.1 Controller/Door Setting

User is required to configure the CASTLE controller setting according to the system requirement. This setting includes,

· Controller and door logical address.  (Tag name)

· Physical address of the controller.

· Each door opens time.

· Each door release time.

· Each door closes time.

· Emergency pin number.

· Time zone.

5.2 Timer Set, Time Zone, Holiday List, Door Accessibility and Floor Accessibility

The user is required to specify the timer sets, time zone sets and national holiday sets. This process must be carried out before any user card configuration take place, because the SMARTGUARD Pro software uses all these information to control the card user door accessibility and floor accessibility in a premises. The SMARTGUARD Pro software will enable the user to define maximum 98 sets of user configurable setting. Besides that, SMARTGUARD Pro software also pre-assigned with two settings which are Free access to all doors and No access to all doors access level and all floor access level.

5.3 Card Holder Configuration

The card holder information must be installed into the SMARTGUARD Pro software database before he/she can use the card to access the door. The assigned card information is required to download to CASTLE controller. The user can configure each card user with different access privilege by assigning various type of access level, where the user is required to define it at the Door Accessibility Entry and Floor Accessibility Entry. Further more, the SMARTGURAD Pro software can also allow the user to assign the validity period of a card.

5.4  Down Loading 

After performing all the above steps, the user is required to download the configured data to  CASTLE controller. Failure on downloading process will not guarantee the correctness and accuracy of the SMARTGUARD Pro door access operation. Beside that, the user is advised to print out the configuration setting into hardcopy form or backup the setting data into backing storage media, this is to provide a safe guard on the data entries. In the case of data corruption happened at the SMARTGUARD PC, the user can always restore back the original configuration setting. The downloading function must be executed with extra caution, because the send data will overwritten CASTLE controller existing information, therefore the user should print out all the new entered setting to verify before issued a download command.

5.5 How Door Access Work

Upon completing all above settings, we assume the user will use a card to grant an access to a door. Does anyone know how CASTLE controller react upon received the card information?

Let us explain some of the basic condition checking takes place at CASTLE door controller.

First of all, CASTLE controller will verify the current state of the door, if the door is in security off or lock release condition then no card verification will be needed because the door is already opened. Else, CASTLE controller will verify the facility code that contained in the card against the SMARTGUARD Pro facility code setting. If a different code presented, the door entry will be denied. This is because the swiped card is belonging to another installation. 

Next, CASTLE controller will search from the card table for the existence of the swiped card, a search not found result indicate an invalid entry. The basic requirement to grant a door accesses only happen if the swiped card was presented in CASTLE controller card table.

The searched record will be used to further decide on the validity of the swiped card.  CASTLE controller will check the current door setting, if the setting is being assigned to accept pin number, then a 4-digit pin is expected to be input. The inputted pin number will be compared with SMARTGUARD Pro card recorded pin number. A discrepancy on the pin number will deny the entry. 

If Card Lock Out setting is on. CASTLE controller will examine the swiped card lock out status. A lock out swiped cardholder should not be allowed to access the door.

On the other hand when an Anti Pass Back mode is on. CASTLE controller will further examine the swiped card anti pass back status to confirm the swiped has not entered to this location before.  A previously entered card is not allow to re-enter under anti pass back setting unless the cardholder has swiped out from the entered door.

The expiry date of the card and door accessibility will be checked as well, CASTLE controller will always make sure an old swiped card must be filtered out from accessing the door.

Lastly, CASTLE controller will reference the door accessibility setting of the swiped card to confirm whether the card user is permitted to enter this door. If the checking is clear than the user will be granted a door access.

CHAPTER 6

6.  SMARTGUARD Pro MENU FUNCTION

The SMARTGUARD Pro software has 8 distinct types of menu function that has been grouped into the following categories:

· System

· Data

· Report

· Download

· Tools

· About

· Quit

· On-line display screen

[image: image3.png]| ]smartGuard Pro/32 ver. 5.5.1.13 [32 Controller Version]

2004/06/10 020225

Password





6.1  System  Menu

Under the System Menu, the user can modify and update the SMARTGUARD Pro system databases. 

The user is required to set-up the system databases before performing any door access operation. The system menu is further divided into 3 main groups.

· Device

· Access Setting

· Software Setting

[image: image4.png]_] SmartGuard Pro Remote ver. 5.5.1.9 [16 Controller Version]

&~ = S = o i M
fem Data Repot  Download  Tools About Quit

0 » I RS S E Y S PoBeens o

AcoessSeling > Door
Software Setting Relsy Seting | | Fioor Plan | Door List | Controller List| Card User Transaction

I T





6.1.1 System Menu :  Device->Site List (SG Pro Remote)
Before the user run the SMARTGUARD Pro software, he/she must set-up the Site List setting.

Under the setting of the Site list, the user must be able to identify the following,

-  Name
(A unique ID to identify the  site name)

-  Description
(The description of the site name)

-  Phone No
(The phone no. of the site)

- Last Dialing Time  
(The last dialing time to the site)

- Auto Dial
(“Y”/”N” will be selected by the user whether the system will automatic dial to the site)  

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Change Site System Setting dialog screen will prompt out as on the next page.

Lastly to exit from this function, press “Close” command button.

[image: image5.png][JAdd Sie To System

SiteName |/

Desciption

SteType |Local <

Modem Selling

Network Selting

Phoneto [

1P adess [

oDl |Na
T

Data Collctor [Cv-25 <

[ Zo | Xcoeel |

Modity





**Note: This “Site” feature only can be found on Smart Guard Pro Remote software.

6.1.2
System Menu :  Device->Controller

Before the user run the SMARTGUARD Pro software, he/she must set-up the Controller setting.  The SMARTGUARD Pro can support up to maximum of 32 controllers.  Under the setting of the controller, the user must be able to identify the following,

· Controller Name
(A unique ID to identify the Controller)

· Description
(The description of the controller name)

· Bus No

(The physical address of the bus)

· Address

(The physical location of the controller)

· Model 

(It consist of 5 types of controller. e.g. CASTLE2S to control 2 

doors, CASTLE4S to control 4 doors etc)

· Site Name

(The site name of the controller located)

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Change Controller Setting dialog screen will prompt out as on the next page.

Lastly to exit from this function, press “Close” command button.

[image: image6.png]ontro =lolx|

Add Controller To System

TagName ||
Desciption
BN [1 3]

Addess [0 3]

Conlroler Type [ Certuion -

SieName Local
VK X coreel |

] i Moty | pome





6.1.3  System Menu :  Device->Door

After completed the Controller setting, the user is required to set-up the “Door” setting. The maximum of the door count is depending on the controller model that selected by the user earlier in the Controller Setting.

First, the user must be able to identify the following,

· Door name

(A unique ID to identify the Door)

· Description

(The description of the Door name)

· Controller Address
(The physical location of the controller)

· Door number

(The physical count of he door)

· Lock Release Time
(The door release period)

· Door Open Time

(The door opening period)

· Emergency Master Pin 
(A 6 digits access pin number)

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button. .  Change Door Setting dialog screen will prompt out as below.

Lastly to exit from this function, press “Close” command button.

[image: image7.png][Lock Release Time:

-Door Open Time |

[ Emergency master PIN |





[image: image8.png]-] Change Door Setling in the System

Tag Name
Descrption
Contoler Name
Tyve
Bus o
Unitho
Doat o
Lock Rekase Tine
Doot Open Tine
Emeigency Master Pin

Time Al Calculation

CGEM  scictContioler

K X concel |





6.1.4.1 System Menu :  Access Setting ->Door Interlocking

Door Interlocking feature only applicable if the user selected the CASTLE4T controller (in Controller setting). By turning on this setting, it will enable the CASTLE4T controller to restrict only one door to be open at one time. By default, all CASTLE controllers will allow multiple doors to be opened at one time. (Maximum of 8 doors, it depend on the selected controller model)

To modify a record, select the data in which is required to be changed and press “Modify” command button.  Door Interlocking dialog screen will prompt out as below.

Lastly to exit from this function, press “Close” command button.

[image: image47.wmf]
6.1.4.2 System Menu :  Access Setting ->Anti Pass Back Zone Code

To implement a higher security on the SMARTGUARD Pro software, the user is required to set-up the Anti Pass Back Zone definition. This entry will define the physical compound area of the door reader of CASTLE controller on anti pass back checking. 

To set-up, choose the correct controller and then press “Modify” button to bring out the Location Zone Code entry screen and then input the entry and exit zone code for a controller.

[image: image48.wmf]Lastly to exit from this function, press “Close” command button

6.1.5 System Menu : Software Setting

The function of Software Setting is to allow the user to configure the run time parameters of this software.  The Software Setting are divided into 8 type,

-    PC Alarm Type
(Consists of 2 model of alarm beeping, soft beep or continuous 

beep)

· Auto Start Up
(Once the user selected “Yes”, it means the software will run 

once the MS Window 95 start-up)

· Floor Plan Online
(“Yes” button will enable the floor plan to be displayed upon 

receiving any alarm events)

· Main Comm Port
(This function will allow the user to select Comm Port 1 or 





2 which link up with CASTLE Controller)

· Modem Port  
(This function will allow the 
user to select Modem Port 1 


through  6 which link up with CASTLE Controller)

· Company Name 
(User allow to key in their company name)

· Use Own Logo
(User allow put in their own company logo)

· User defined 
(There are 2 user defined column which allow user to 





add in the card user database)

To edit the software setting, the user is required to press the “Modify” button.  Edit PC Setting dialog screen will prompt out as below.

[image: image49.wmf]
6.2  Data  Menu

Under the Data Menu, user can modify and update SMARTGUARD Pro system databases.  The user is required to set-up the system databases before performing any door access operation. The data menu is categorized into 5 main groups.

· Time Setting

· Card User

· Door Setting

· Software User

· Floor Plan

· Browse Daily Attendance Record

· Browse Monthly Attendance Record

· Browse Card User Attendance Summary

[image: image50.wmf]
6.2.1.1 Data Menu : Time Setting -> Timer Set

The SMARTGUARD Pro software will enable the user to specify a total of 98-timer set.  Each timer set is make up by 3 intervals. For each interval, the user can define their starting and ending time period. The defined time set will be used in the time zone setting at the later section. Besides configure the timer set, the software default has two pre-assigned timer set which are Free All timer set and No Free timer set.

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select the data that required to be changed and press “Modify” command button.  Edit Time Set List dialog screen will prompt out as below.

Lastly to exit from this function, press “Close” command button.

[image: image51.wmf]
6.2.1.2 Data Menu : Time Setting -> Timer Zone

Time zone is a collection of timer set setting. Each time zone setting consists of 9 timer sets to specify the time interval of the day (SUN,MON....SAT and HOL).   There are 98 programmable entries of time zone and 2 systems pre-defined time zone.

Firstly, the user must be able to identify the following,

· Time Zone No

(A unique ID for the time zone set)

· Description


(The description of the time zone set)

· SUN,MON..HOL1,HOL2
(A timer set ID for the time interval of the day)

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select the data that is required to be changed and press “Modify” command button.  Edit Time Zone dialog screen will prompt out as below.

Lastly to exit from this function, press “Close” command button.

[image: image52.wmf]
6.2.1.3 Data Menu : Time Setting -> Holiday I or II

The SMARTGUARD Pro software has been designed to cater for multiple holiday definition setting. Where it allow the user to input 2 different type of holiday list for the year. (Holiday I & II).

The holiday setting function will enable the user to set the holiday’s date, month and holiday name. You are able to set-up up to 30 holiday time zones to override the daily time zones. To set the holiday, the following steps should apply.

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the records that need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button. Holiday Date dialog screen will prompt out below.

Lastly to exit from this function, press “Close” command button.

[image: image9.png]Holiday Calendar Setup =[]

Deciton
T T — Y
oo [ n [ oo [ [ [ 0 [0 ]

IR
s 7 e s w ow | w
voou o w |
FRIERE 5| »
FRERE

X





6.2.1.4 Data Menu : Time Setting -> Working Hour Setting

The SMARTGUARD Pro software not only work as Door Access Management software, it also have the capability of catering normal time attendant function.  In order to use this feature the user is required to set-up the working hour. This information will be used as a reference to generate the time attendant report, such as Employee “First In First Out” report, Latecomer, and many more. The detail description will be explained at the later part.

User is required to specify the time interval set of each day from MON to SUN, HOL I & II. Besides the time interval set, the out grace time must be input as well. These information will be used in the time attendant report.

User also allows to key in several types of working hour. Click on the “Working Hour Pick List” button the screen below will be shows.

[image: image10.png]@] x|

kit Name: j

dsfsal

Define Warking Hour

O Gce i)

sd [Tl )| peee | ffices





To edit or modify the record, select data that is required to be changed and press “Modify” command button. Change Time Set Interval dialog field will prompt out as below.  Lastly to exit from this function, press “Close” command button.

6.2.1.5 Data Menu : Card Users-> Floor Zone

The SMARTGUARD Pro software will enable the user to specify a total of 98-floor zone.  Each floor zone is make up by 6 range.  For each range, the user can define their starting and ending floor.  The defined floor zone will be used in the Floor Accessibility setting at the later section.  Besides configure the floor zone, the software default has 2 pre-assigned floor zone which are Free Access and No Access.

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select the data that required to be changed and press “Modify” command button.  Modify Floor Zone List dialog screen will prompt out as below.

Lastly to exit from this function, press “Close” command button.

[image: image53.wmf]
6.2.1.6 Data Menu :  Card Users ->Department

This function will enable the user to set-up the department entry. Each department must include a unique tag name to identify the department record.

The created information will be used as a reference field during the card user database entry. To set-up the Department databases, the following action should apply.

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Edit Department List dialog screen will prompt out as below.

[image: image54.wmf]Lastly to exit from this function, press “Close” command button.

6.2.1.7 Data Menu : Card Users-> Job Title

This function will enable the user to set-up the job title entry. Each job title must include a unique tag name to identify the job title record.

The created information will be used as a reference field during the card user database entry. To set-up the job title database, the following steps should apply:

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record that need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Edit Job Title List dialog screen will prompt out below.

Lastly to exit from this function, press “Close” command button.

[image: image55.wmf]
6.2.1.8 Data Menu : Card Users-> Door Accessibility

Door accessibility function will allow the user to maintain and control a card user access privileges at each door in a premise. With this function, you can control whether a person can access to certain door or at what time he/she can access the door. The user is required to assign a unique access number and follow by a description. SMARTGUARD Pro software has also extended the flexibility of the access privilege definition by allowing the user to specify the validity date of the access level by accepting the start and end date.

With this addition feature, it will allow SMARTGUARD Pro software to control an access privilege to be active and deactivate on a specific time period.

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Get Text dialog screen will prompt out as below.

[image: image56.wmf]
Lastly to exit from this function, press “Close” command button.

To assign a door accesses time zone for certain access level. Firstly, the user is required to select the desire access level, the SMARTGUARD Pro software will automatically display all doors setting of the selected access level on the screen.

[image: image57.wmf]
The user can configure an individual door setting by placing the mouse pointer at the correct row and then double click on it. A time zone pop up screen will appear. At this point, the user can select the time zone set and assign to the door. If the user decided not to permit an access at this door for a particular access level, then the user should choose No Free Time Zone.

6.2.1.9 Data Menu : Card Users-> Floor Accessibility

Floor accessibility function will allow the user to maintain and control a card user access privileges at each floor in a premise. With this function, you can control whether a person can access to certain floor or at what time he/she can access the floor. The user is required to assign a unique access number and follow by a description. 

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record which need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Get Text dialog screen will prompt out as below.

[image: image58.wmf]Lastly to exit from this function, press “Close” command button.

To assign a floor accesses time zone for certain access level. Firstly, the user is required to select the desire access level, the SMARTGUARD Pro software will automatically display all floors setting of the selected access level on the screen.

The user can configure an individual floor setting by placing the mouse pointer at the correct row and then double click on it. A time zone pop up screen will appear. At this point, the user can select the time zone set and assign to the floor. If the user decided not to permit an access at this floor for a particular access level, then the user should choose No Free Time Zone.

6.2.1.10 Data Menu : Card Users-> Leave Type

This function will enable the user to set-up the leave type entry. Each leave type must include a unique tag name to identify the leave type record.

The created information will be used as a reference field during card user leave entry database entry. To set-up the leave type database, the following steps should apply:

The user is able to add a new record by pressing “Add” command button; to delete an unwanted record, the user must select the record that need to be deleted and follow by pressing the “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Edit Leave Type List dialog screen will prompt out as show in next page.

[image: image59.wmf]Lastly to exit from this function, press “Close” command button.

6.2.1.11 Data Menu : Card Users-> Staff Leave Dates

This section will explain set-up procedure of the cardholder leave entry database.

[image: image11.png]=]

Card Holder List

Cora NSl Cose Tieme Teomve Enttement [Loave B/ [LoaveBobres | 5|
or7ds 0 0 00

[Tozeoee o o 00

[ozsere o o 00

[ozsers o o 00

[¥ossses oo1e cabin 00 00 00

Leave List
Date Card No Name Leave Typs [Panel Ciiic: Medical Fee. ii

opat poriloove [N Scbwerses | Lowssip

FunarDe a0 | i | powe | Moo




Once the user select the card user option from the Data Menu selection, the screen below will appear. 

In this Add Leave Record To List screen, the user have to select the Date first, after that the user have to click on the “Select Card Holder” button to get the card user information. 

The third step is selects the Leave Type with click on the button, a screen will be displayed and the user have to select one of the leave type.

The next step is to select from the list box whether the card user is apply for full day or half day leave. And the last step is to select whether it is a unpaid leave or paid leave.

Lastly, click on the “OK” button to save the record or click “Cancel” to exit the screen.

As for modifying a record, select data that is required to be changed and press “Modify” command button.  Change Leave Record Entry dialog screen will prompt out as below. 

Lastly to exit from this function, press “Close” command button.

[image: image12.png][ Add Leave Record To List

1. Select Date 2. Select Staff

Date [Wednesdsy, [ERE 0.2004 v Cadto | EEEEEN 3 Setect Cord Holder

Name.

3. Select Leave Type

Depattmert
Leave Type. L

Job Tite
Is Annual Leave

LeaveB/F
OnPad__[Pad -

Leave Ent
FulDsy  [FaiDy ]

Leave Balance
Rematks

Medcal Expenses
Panel Clinic &
i .

K X concel |





6.2.1.12 Data Menu : Card Users-> Card User

This section will explain set-up procedure of the cardholder database. All card user data must include a unique card number for each record.  The card number will be used to perform search operation and this card number is build by 6 bytes numeric code. Once the user select the card user option from the Data Menu selection, the below screen display will appear. 

[image: image13.png]616164 Cass253  Edgar Chew

)|

StaffLeave Applcation

Card Dea

LeaveEnvterent | KN

Miscellaneaus

[ |

venseno N

et R

Cadhoces
Cotiose  [CTENNNN | s TN
Frerint o [N | Ooxtccers | NN

Forpccess (I

o/ Leavesl

WedcolExpenses |

View DoorAccess | o Order

bt

peee | fioese |

1} Eind Card





To view the door accessibility of a card, first move the mouse pointer to the desire record and then select the View Door Accessibility Details button. A complete list will be displayed as below.

[image: image14.png]x|
(T [Stsibate_[Endbae | 5|
w0 o Acoess 00/00/0000 0070070000
»)
o2 01/01/1398 01/01/2003 |
oss o1/o1/1988 0170172020
59 o1/o11988 0170172020 o
Doot [Doariare Gwlo [UnNs  [boas [Timezoe

View Tine Zone Detas_ ||/ 0K





[image: image60.wmf]The card user list is defaulted by card number order. To change the display order, the user can select the sort order button, a selection pop up screen will be shown as below.

Besides View Door Accessibility Details function and Sort Order function, the SMARTGUARD Pro software has been in-cooperate with an important and useful function which is Find Card option.  This function will allow the user to locate a particular card record in a quicker manner instead of scrolling the record one by one. The SMARTGUARD Pro software is able to locate a record either by Card Number Order or Cardholder Name Orders.

[image: image15.png]& ByCaaNd
By Name

By Stalf Code

000000

XK Coreel|





The user is able to add a new record by pressing “Add” command button, before enter the information, some of the information user have to know before:

Data Fields

· Card Number

(A unique identify for a card user record)

· Staff Code

(Staff code of an organization)

· Staff Name

(Name to describe the Staff Code)

· Door Accessibility
(The access privilege setting)

· Floor Accessibility 
(The access privilege setting)

· Department

(A field to describe the card user’s department)

· Job Title


(A field to describe the card user’s job title)

· Enable


(A field to determine usability of a card )

· OT


(A field to determine whether the card user eligible for 

OT)

· Start/End Date

(Validity of a card)

To delete an unwanted record, the user must select the record that need to be deleted and follow by pressing “Delete” command button.  As for modifying a record, select data that is required to be changed and press “Modify” command button.  Edit This Card dialog screen will prompt out as below.

Lastly to exit from this function, press “Close” command button.

6.2.1.13 Data Menu : Door Setting -> Individual Door

This function enables system user to set-up the CASTLE door runtime parameters. Upon entering the entry screen, the system user is required to select the door record by moving the mouse pointer to the correct row and click “Modify” button to activate the editing function. After selecting the button, a list of parameters is presented for modification.

[image: image61.png]ime Set Database Report HEIES

Bl ||| sle 6l=| =]

- Smart Guard Pro
SIS Time set Database Report

(Demo Version) Date 1727199

Interval 1 Interval 2 Interval 3

me Set Descripion Erom To Fom  To Erom  To
w No fecess Whole Day 0000 0000 0000 030D w000 w000
o Free focess Whole Day 0000 2359 0000 030D w000 w000
] working hour 0300 1200 1200 1300 1300 1700
" Halfday 0300 1400 1400 1500 w000 w000
%9 time set 99 0800 1200 1200 1300 1300 1800

Page1of1




· Auto Lock Release Time Zone


A time zone setting which will be used by SMARTGUARD Pro software to turn on the Auto Door Lock Release mode. Once the door is in lock release mode, no card swiped is required to grant a door access.

· Card + Pin Mode Time Zone

A time zone setting which will be used to switch on the Card + Pin number function at the door. Once this option is activated, a card user must present the card at the door reader and then key in their secret pin number to grant a door access.

· Security

The security option works similarly to the Auto Lock Release Time Zone option. The main different between these two is the Security option is not manage by time zone setting. A security off action will allow a door to be freed permanently until a reset is triggered and the security on action is the opposite.
· Card + Pin Mode

Setting off the card + pin mode will disable the function even though the time zone is still active.

· Pin Mode





Setting off the pin mode will disable pin mode even though the time zone is still active.

· Use common pin

This setting will used to set the reader to use the Auto-Pin number that set at the controller or use the Local Auto-Pin number that set to the specify door.

· Local pin number 1 setting

4 digit of number are required to set the Local Pin 1 number.  This is only can be used when the Use Common Pin Mode is OFF.

· Local pin number 1 time zone setting

Set the Time Zone for the Local Pin 1 so that Local Pin 1 can be used within the Time Zone setting.

· Local pin number 2 setting

4 digit of number are required to set the Local Pin 2 number. This is only can be used when the Use Common Pin Mode is OFF.

· Local pin number 2 time zone setting

Set the Time Zone for the Local Pin 2 so that Local Pin 2 can be used within the Time Zone setting.

· Emergency  Mode

This is a safe guard method for the CASTLE system. The setting of this mode is to make sure no down time happened at CASTLE door. In the event of communication error between CASTLE door with the host controller, the door controller will react immediately according to the emergency mode. The user can define 3 different type of emergency mode, namely Auto Pin, Lock Release and Facility Code Entry. The Auto Pin setting will instruct the door controller to accept Emergency Pin no to grant access; Lock Release Mode will permanently release the door and Facility Code Function will instruct the door controller to grant a door access according to facility code of a user card.

· Emergency Pin

The user must input 4 digits pin number in case the setting of the emergency mode is auto pin number. The entered pin number will be used to grant a door access during trouble happened at door controller.

6.2.1.14 Data Menu : Door Setting -> Global Door

As we know the SMARTGUARD Pro software can support a maximum of 256 doors. Of course, there will be some common setting for some of these doors that we can be applied the setting at one time. 

Therefore, the SMARTGUARD Pro software has been designed to simplify the door setting operation by grouping all the common setting into a single function. The common setting are Anti Pass Back mode, Check Expiry Date In Door Accessibility, Card Lock Out Function, Facility Code Setting, Auto Pin Number and Auto Pin Number Time Zone. 

To configure the Global Setting, the user is required to press “Edit” button, a list parameters will be shown for the user to set-up.

[image: image62.png]ime Zone Database Report HEIES

Bl | |14 sle 6l=| =]

Smart Guard Pro

SIS Timezone Database Report

(Demo Version) Date 1727199 5:17:59 PM
me Zone  Description me Set Description
o Nodosess ltheDaye  SUN 00 NoccessWholeDay  FRI 00 Mo Access WholeDay

MON 00 NosccessWholeDay  SAT 00 No ccessWholeDay
TUE 00 NosccessWholeDay HL1 00 No ccessWholeDay
WED 00 NolwessWholeDay  HL2 00 NoaccessWholeDay
THU 00 Notecess WhaleDay

o Free i Das SUN 01 Free sccessiholsDay FRI 01 Fres fccess Whole Day
MON 01  Free fccessiwholsDay SAT 01 Fres fccess Whole Day
TUE 01 Free fccessiwnolsDay  HL1 01 Fres fccess Whole Day
WED 01 Fres fccessWholeDay HL2 D1  Free ccess Whols Day
THU 01 Free dosess Wwhole Day

o2 TimeZoneDesc SUN 00 NoscessWholeDay FRI 00 No dccsssWholeDay
MON 00 NosccessWholeDay  SAT 00 No ccessWholeDay
TUE 00 NosccessWholeDay HL1 00 No ccessWholeDay
WED 00 NolwessWholeDay  HL2 00 NoaccessWholeDay
THU 00 Notecess WhaleDay

5 werking mne 45 SUN 00 NoscessWholeDay  FRI 11 Halfday
MON 01 Free sccessiwholsDay  SAT 11  Halfday
TUE 11 Halfday HL1 00 N fosess WholeDay
WED 8 fmesetss HL2 00 No fosess WholeDay
THU 01 Free tosess Wwhole Day

£ time sane 39 SUN 02 verking haur FRI 11 Helfday
MON 02 vorking haur SAT 01 Fres fcoessWhale Dy

Page1of1




· Anti Pass Back

The Anti Pass Back feature is designed to ensure the user always transact a “In” transaction at the door reader and followed by one ”Out” transaction, before he/she can carry out another transaction.  For instance, if a user swipe his/her card at door A to grant access to a room then passed the card to another person to attempt at door A again, the second entry will be denied by the door controller. The user is required to set this field “Yes” to enable this option and “No” will disable the option.

· Check Expiry Date In Door Accessibility

Setting on this mode will instruct the CASTLE controller to check the validity date of the user card. A card with expiry door accessibility will unable to grant access at a door. 

· Card Lock Out

The Card Lock Out function is mainly designed for higher security guarding condition, where the CASTLE controller will lock out the user card if several invalid attempts at the door reader take place.  This includes 3 consecutive wrong PIN number access, 3 consecutive Anti Pass Back violation.  The user should switch on this mode if he/she feel that necessity of a higher security door access control.

· Facility Code

The purpose of having this code is to distinguish the user card from one installation with another. As we know the door access uses a card number as the main reference point in the door access system.  Therefore to avoid same card number to apply at both installation, The CASTLE controller required the manufacturer to include in an extra feature (facility code) to restrict the user swipes his/her card at different installation location.  As a result, every installation location should assigned with a completely different facility code to distinguish from each other.

· Auto Pin Number 1-10

A 4 digits pin number for accessing the doors when the Auto Pin mode is switched on. The main purpose of having this is to provide an alternative manner to grant the door access instead of doing the normal method swipe card at door reader manner. By switching on this mode, the user is required to input the pin number.

· Auto Pin Number Time Zone 1-10

This setting is able the user to customize their auto pin mode according to the time periods. The user is required to attach a time zone set to the door. If the time zone is activated and the pin mode setting is set, then the door will automatically access user pin number. 

6.2.2 Data Menu : Floor Plan

As mentioned at the beginning, the SMARTGUARD Pro software is specially designed to help the user to manage and control the CASTLE door access system with minimum interaction at the controller level. Therefore, the SMARTGUARD Pro software has includes a useful function to create a user-friendly environment, that is graphical floor plan editing and runtime.

The floor plan editing function will allow the user to create multiple floor plan layout and insert door object at the plan. The below screen layout will be shown whenever the user select the function from the main menu.

[image: image63.png]Holiday | Report HEIES

Bl vl || le 6l=| =]

Smart Guard Pro
Holiday | Database Report
(Demo Version)

CASTLE]

Date 1721199 5:19:48 PM

oo Agung Bithay
20 Wilayah Day

o3 company anniversary
o10a apri Fool

oios Labour day

05105 my bithdays

s National day

2512 xmas

Page1of1




Basically, the floor plan screen can be categorized into 3 main portions (Floor Plan Record List, Floor Plan Map Panel and Command Action List).

At top of the screen, a floor plan record list will be shown with all the existing floor plan records and the user can modify the record by simply click on the desire record and then follow by the “Modify Floor Plan Record” command. A pop up dialog screen will be displayed for the user to perform the editing.

[image: image64.png]Department Database Report

olefE ||| &le| bl (]

Smart Guard Pro
Department Database Report
(Demo Version) Date 1727199 5:20:42 PM

CASTLE]

Hame Deseription

ac account

EoP EoP

Mkt Matketing

Pr Purchase
Sales





To add a new floor plan record, the user can choose “Add New Floor Plan Record” command. The SMARTGUARD Pro software will pop up a dialog screen to prompt the user for a floor plan map ID and map description. Besides inputting the floor plan record information, the user is required to attach a graphical map into this floor plan record. To achieve this operation, first of all, the user should press the “Get Floor Plan File” command, then the user is required to select the desire floor plan map file (BMP) and click “Ok” action to attach the selected map file into the floor plan record. After that, the user is required to execute the “Save This Floor Plan” command to relate the map file with the floor plan record.

[image: image65.png]Job Database Report

olefE ||| &le| bl (]

Smart Guard Pro
Job Database Report
(Demo Version) Date 127/29 52312 PM

CASTLE]

Tag Hame Deseription

K Clerk

sa System Anayst
se System Engineer
SManager Senior Manager
md managing director
b programmer

£l system support




Until this stage, the user has already finished the floor plan record and graphical map file creation procedure. Next step is to link the CASTLE door into the floor plan map. The step is very simple, first, click “Add Door To This Floor Plan” command to select the new installed door. (Door Setting). 

Upon selected a door record, a symbolic icon will appeared at the middle of the floor plan map. At this point, the user has successfully linked up a door object with the floor plan record. Next the user must position the door object into the correct coordinate. The location setting of the door object will be the actual display location of a door object during the floor plan runtime.

The user can repeat the above procedure to insert the others door object in the floor plan record. In case, the user did a mistake on the door object selection and would like to delete the inserted object, he/she can simply highlighting the unwanted door object and choose the “Delete Device Point From The Floor Plan” to remove it. 

For deleting, the entire floor plan record, it is even simple, select the desire record from the Floor Plan Record List and execute the “Delete This Floor Plan” command. The selected record will be permanently removed.

To return to the main menu, please select the “Close” button.

6.2.3.1 Data Menu : Software User->Command Accessibility

The SMARTGUARD Pro software provides the master user with a feature to configure system menu access. To set-up the menu access, the user is required to supply a Unique Command Accessibility No.  After the command accessibility ID assignment, the user is required to select and highlight the menu item for the assessable items. By using Ctrl + mouse point to the item menu that needed.

[image: image16.png]Command Menu Accessi

dd

=lolx|

[

Command Accesshify No

ot |

SysemMeru| Dot Meru FeporMens | DowrLoad Heru | Toos eru|

Mai [-Sub: Softwere Data Time Seting | -Sub Card Access Trans.
[ Software Data 0] Time Set [ Cord Holder Tracking
0] Card Access Trans. 0] Time Zone ] Card Holder Distibution
] Time Attendance Trans. ] working Hou ] Log Transacton
51 Load Saved Repart 0] Holiday |

1 Holday I

Sub- Software DataDevies |

[-Sub:- Software Data Card Users |

[-Sub: Time Attendance Trans.

] Cortioer
0] Floor Zone

) incividual Door

51 Glsbal Door Seting

[ Department
0] Job Title

] Door ccessivity
1 Floor coessivity
] Cord User List

0] Car Pk Colection
] Leave Type

0] Sta Leave:

[ Dy Time Altend. Summary

] D Time Attend. Detail

21 Dl Time Attend. Analysis

21 Dl Time Attend Lunch Break.

] Monthl Time Atend. Detail

] Morthl Time Attend.Analysis

1 Dy Time Atten. Maste (History)
5 Morthly Time Attend. Maste (Histry)

X conen





· To add a new record

Select the “Add“ button and key in a new command accessibility ID in the menu access information. The command accessibility ID must be unique, where it will be used for record searching.

· To modify a existing record

Move the record pointer to the correct record and press “Modify” button toggle on the record editing function.

· To delete an unwanted record

Move the record pointer to the unwanted record and click “Delete” button. A confirmation screen will be displayed, the user is prompt to confirm on this operation before deleting take places.

· To cancel operation

To abort the editing function, the user select “Cancel” button.

6.2.3.2. Data Menu : Software User->Software User List

The SMARTGUARD Pro software had been incorporated with the system user log in option. The purpose of having this function is to provide a security level on the SMARTGUARD Pro software. The log in function will prevent all unauthorized personnel being accessed the SMARTGUARD Pro software. 

With the existence of the command accessibility function, each system user can set-up a different menu access control by assigning a correct menu access control from the pop-up selection. As a result, the system administrator can easily control the operation of the SMARTGUARD Pro software and CASTLE door access system.

To add a new system user, the system admin is required to input a unique user ID and follow by a user name as reference to the user ID.  The system admin is also able to extend the usability of the new system user to the global network by turning on the remote access option. This function will allow the system user to be connected to SMARTGUARD Pro software via another remote machine. Beside the remote access, the system admin can also set the capability on setting the cardholder access pin number by clicking the “Change Pin” check box.

[image: image17.png]x|

Cast

User D
User Name

Menu Access Level

Remale Access Can Change Pir
[r: Yes  C Mo [r: Yes  C Mo

X Carcel

7 0K

lat s

e Ca—
|

Can Change PIN
a4 | oy | peee | o |





To delete the unwanted system user record or to edit the existing record, the system admin is required to identify the desire record and follow with the appropriate command action.

6.2.3.3. Data Menu : Browse Daily Time Attendance Record

This is the menu that for us to do rebuilding report and authorize specific time for the staff. This is the first step user have to touch, in order to view the Time attendance report.

[image: image18.png][1Daily Time Attendance Setting List o x|

O

KT}

Time In

vaein |

Feo e I | A e
Eaynime I | oo IR
Weal Break

Tmeow I | -
Tacoutee I | oo I

Toaworkearos

CadNo [Stafl Code. Name. Depatment_[Datein

Time Out

Date Dut_[TimeIn_|[Time Dut[Auth.In JAuth, 0=

oacou |
feo e I | o e
Eayouine I | soure I

Shit
Attendance Status
Leave Status

Meal Break Status

N — Fematk
Rebuild Tine Altendance. Eind Post Master Clear Table
Save As ASCI File Working Shift Wiew Master Il Cse.

Order By Group By

Date+CadNo =] | | [AllTransactions =]





In order to view the time attendance report, users have to click on the button called “Rebuild Time Attendance Transaction”. The purpose of the button is helping the user to prepare the report.  (*Note: without rebuilding report, user will not able to view any time attendance report.)

[image: image19.png]Daily Time Attendance Set

|-Progess Dal [-Card No Opton
Thusday . Juy 24,2003 < Star CardNo 000000
o
Thusday . Juy 24,2003 - ElEity 25051 ¥ Don'tCare

[ Transsction Captured From

& InReader Orly I and Out Reader

|- Depattment Dpton

Department Name. AllDepatiments

|

© OverNight St
€ Nomal Working Hou + Dverhight Shit + Cross Over Shift

“Process Transaction Oplir (~Shit Option
& Alithe doors
ShiftName A0 shis P
" Only doors included #|
“Rebuild Transaction Opiion 0T Pracess Optirs
& Nomal Warking Hour & Bebidini W Eayln I Latein I~ Nenarking day
I~ EabpOu ¥ Late0ut I~ MealBreak

¥ Include Earl In (with Min. Work Time)
I~ Include Early In (without Min. Work Tine)

Process
Ready.





Users may select the date, captured form and specific door that they would like to see.

To abort the editing function, the user select “Cancel” button.

If the user would like to authorized the time attendance for the staff. For example, Jeff late in for the office because he went to customer appointment at early this morning. 

User just need to double click the staff on the time In/Out column. A window will prompt out for authorize.

[image: image20.png]o =T
- &~ [=)¢ K- =~ 4 -
System Data Report  Download  Tools shout Qutt
A\‘,’“ =lolx|
Latest Transaction [[CadNo _ [otafCode Name Depament__[Dateln _[Date Out_[Timeln [Tine Dt At I [Autb 3]
12597 | Cass0725 Jemny Khan EDP 2003/07/24 2003/07/24 060000000000 000
Daz T
[l
Transaction Date
StatDate | ol
EndDate |
b
st Time Eny) [ 20 =]
EndTine (e [0 2o =
Rematks opton
K| Rematks
Time In e
vaen  EEHCI
Feo Tne NI | Al Luch Break = autn Time |
Eopinne T | 00 [ S Cae e |
Meal Break
ndTinen) [0 20 %
Toco TN End Time (In) 5 e
Caeta T I | L
VK | X Concel
Toravaked o (IO |
Tota 07/ Latein ine | AN TR .
Ribuid Time Atendance End Posthaster ClearTable | [Order By iounlE,
— Date+Cadtio 7] | | [BTransactens =]
Save A< ASCI il WorkingShit View astr il Cose
usericastel [ oo [l o1 [l 2407003 050105





To abort the editing function, the user select “Cancel” button.

6.2.3.4. Data Menu: Browse Monthly Time Attendance Record

In order to view the monthly time attendance report, users need to rebuild whole month of daily time attendance first before Rebuild Monthly Time Attendance Transaction”. (*Note: without rebuilding report, user will not able to view any time attendance report.)

[image: image21.png]Cad o Staff Code Name.
2003/07 123597 Cass0726 Jermy Khar

[sob Tite Shift Code.
EDP Shianager Defaut

Vot TR | coreove NN | oo N
Taovaked Tre (O | e O | covor NN O
Voot DN | - CNENEE | oo (N EOTNEN

Bebuid Tine Aterderce | SaveAsastilFie | Cealotle | PosMaster | vewaster | i cese |





6.3 Report  Menu

The SMARTGUARD Pro software has provided 3 types of report for the user to operate. Which are,

· Software setting report

· Access transaction report

· Time clock transaction (Future Implementation)

[image: image66.png]CASTLE :':::A‘x:?s;mw Setting Report
(Demo Version) Date 1727199 5:31:31 PM
fcoess levelto  Acosss levelteme  [Doortsme  Cofroller Addr [oorle  limeZone
© No Access Amyw hers
a1 o o ©
a2 o 1 ©
o Frae Access Anywhere
a1 o o o
a2 o 1 o
@ Descrption
a1 o o @
a2 o 1 ©
£ Management Level
a1 o o ©
a2 o 1 ©

Page1of1




6.3.1.1 Report Menu : Software Data->Time Set

This function will allow the user to print the timer set settings. The SMARTGUARD Pro software will generate the time set report into the preview form, where it allow the user to browse it.  If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

[image: image67.png]Card Holder Database Report

0lels ||| als) 6le| T

T smitGurdpro
Cand olde DatabaseReport
@em versory

e gt e w0t
- i ans o

feRRn g

Date 12788 53934 P

Paged 1





6.3.1.2 Report Menu : Software Data->Time Zone

This function will allow the user to print the time zone settings. The SMARTGUARD Pro software will generate the time zone report into the preview form, where it allows the user to browse it.  If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

[image: image68.png]Controller Database Report

olefE ||| &le| bl (]

Smart Guard Pro
Controller Database Report
(Demo Version)

CASTLE]

Toq Home Descriptionon BusHo  UnitHo
et controller 1 o 2

Date 1721199 5:35:03 PM

Model Site Name
CastledT  Locel






6.3.1.3 Report Menu : Software Data->Holiday I and II

This function will allow the user to print the holiday settings. The SMARTGUARD Pro software will generate the holiday report into the preview form, where it allows the user to browse it. If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

[image: image69.png]Door Database Report

olefE ||| &le| bl (]

Smart Guard Pro
Door Database Report
(Demo Version) Date 1727199 5:36:26 PM

CASTLE]

Tag Hame @3
Description door 3
UnitHo 5

Door Ho 5
InLocationCode 00

Out Location Code 00
LockRelease Time 13
Door Open Time 20

ALR Tz o
Card + Pin T2 o

Pin Mode of
Card + PinMode  Off

Use Common Pin O
Local Pin 1 o000
Local Pin 17z o0
Local Pin 2 o000
Local Pin 2Tz o
EmergencyMode  AutoPin
Emergency Pin 1234
Master Pin sas625

Tag Hame
Description
UnitHo

Door Ho
InLocation Code
Out Location Code
Lock Release Time
Door Open Time
AR T,






6.3.1.4 Report Menu : Software Data->Depatment

[image: image70.png]Global Door Setting Report

olefE ||| &le| bl (]

Smart Guard Pro
Global Door Setting Report
(Demo Version) Date 1727199 5:38:10 PM

CASTLE]

Lock out or
Check Expiry on
Anti Passback on
Facility Code o000
AutoPin1 1235
Auto Pin2 7845
Auto Pin 3 4582
Auto Pin 4 a787
ass
7as8
Auto Pin? 4586
Auto Pin g 3859
Auto Pin 9 578
Auto Pin 10 2538
Auto Pin1 T2 %
Auto Pin2 T2 02
a5
o
o
Auto Pin 6 T2 o
Auto Pin7 T2 5
Auto Pin 8 T2 %
Auto Pin 9 T2 o2
Auto Pin 10 Tz




This function will allow the user to print the department settings. The SMARTGUARD Pro software will generate the department report into the preview form, where it allows the user to browse it.  If he/she has satisfy with report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

6.3.1.5 Report Menu : Software Data->Job Title

[image: image71.wmf]This function will allow the user to print the job title settings. The SMARTGUARD Pro software will generate the job title report into the preview form, where it allows the user to browse it. If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

6.3.1.6 Report Menu : Software Data->Door Accessibility

[image: image72.wmf]This function will allow the user to print the door accessibility settings. The SMARTGUARD Pro software will generate the door accessibility report into the preview form, where it allows the user to browse it. If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

6.3.1.7 Report Menu : Software Data->Card User

The SMARTGUARD Pro software will allow the user to list the cardholder information into the preview form. The user can generate the report by several type of filtering, e.g. by card number range, card holder name range, department grouping, job title grouping, door accessibility and expiry date grouping. Beside the report filtering setting, the user cans also set-up the reports printing sort order. These report function can support various type of sorting order, such as by card number, name, job title, door accessibility, expire date, department and card no, department and staff no and department and card user name. The user is required to select one of the above sort key order to produce a cardholder list.

[image: image22.png]] Card Holder Report Selection

 Card N ~Espiy Dal
Fiom 800000 Fiom Thasday __Jure 10,2008 =
= e @ Daitad To Thasday . dwe 10,200 =]| 7 DonttCars
1 CordHoldr N [ Dot Accessbi
o ivedtad S © Domtcee
T Urfsizd ot 2 DertCare
Depatnent skl
[ ¥ DontCare || [ ¥ Don't Care
dob T [ Son D
5] W Dortcae || [ByCadte E
CardNo_[Staff Code [Name [AccNo_[Depattment__[Job Title [statDate  [EndDate _[shit [Mode [
24 Repon Deto s ool | fices |





To begin the report printing, select the “Prepare Report” button, then the cardholder information will be displayed. Once the user had confirmed the data, he/she can select the “Preview” button to convert the display data into the informative cardholder report.

[image: image73.wmf]
The SMARTGUARD Pro software will generate the cardholder report into the preview form, where it allows the user to browse it. If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

6.3.1.8 Report Menu : Software Data->Controller

[image: image74.png]Transaction Report

0lefs ||| | als) 6le| T

Smart Guard Pro

SIS Transaction Report
{Demo Version)

Date Cardét Name Controller Door
a2 115217 FEFFEF art
ez 115223 FEFFEF art reETon
‘BSaTZ 115291 T3 FLORIA CATHERNENAYAGACH 1 ReeToN
ez 115245 FEFFEF at
ez 115253 FEFFEF art reETon
oAz 11528 2T ASAHBTEBAKAR art o
oSz 1152 2T ASHBTEBAKAR art o
ez 115257 FEFFEF at
BSATTZ 115300 RT3 BALWNDERIT SHGH AL RAH 1 reETon
ez 115300 FEFFEF art o
ez 115300 FEFFEF art
‘oSz 115300 WOTS SARULAZHARBNAL ot 1 oourre
ez 115308 FEFFEF art
ez 115308 FEFFEF art reEToN
sz 11531 cate
ez 15315 FEFFEF art oourre
Tesaz 15317 @222 KoH 500 KEGNG art Doorre
YBSATTIZ 115318 7173 NOR SHAHRN BN ABDULLAFct 1 Doarre
ez 11532 FEFFEF art
TeGaTz 11537 ET  LOKNEIYEAN, CHRSTNE  ch2 oam
ez 11532 FEFFEF at
ez 115322 FEFFEF w2
esaz 115325 FEFFEF a2 oam

B

SBERRENRENA |

888

o
o
o
o

2e8e

e
cuEK

Rse

HEIES

Date 1721199 5:47:22 PM

Dept  Transaction
onorOpen
oo et
ho VB Access
OnorOpen
oo et
b0 vldEd Access
W VeEd Acss
oo Open
R Veld By s
oo et
oo Open
cous  Veld it Assess
OnorOpen
oo e
Alamadaon biged
oo St
s oav Vald B Aconss
Chu  Vald it Ascess
OnorOpen
T vedEd A
OnorOpen
oo Open
oo e

Pagelof5



This function will allow the user to print the controller settings. The SMARTGUARD Pro software will generate the controller report into the preview form, where it allows the user to browse it. If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

6.3.1.9 Report Menu : Software Data->Door

This function will allow the user to print the door settings. The SMARTGUARD Pro software will generate the door report into the preview form, where it allows the user to browse it. If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

[image: image75.wmf]

6.3.2.0 Report Menu : Software Data->Global Door

This function will allow the user to print the global door settings. The SMARTGUARD Pro software will generate the global door report into the preview form, where it allows the user to browse it. If he/she has satisfy with the report, then by selecting the “Print” icon will physical print out the report and choosing the “Save” icon will allow the user to store the report into file format. To cancel this operation, just press the “Close” button.

[image: image76.png]ime Attendance Report HEIES

Bl «l || sle 6l=| =]

SmartGuardPro
SMEY Yime attendance Report
D versom e 1278 55525 P
Bee  AMh werk
02 Cardname £ Dt h D4 b O HowOT Smus Lewwe staus
T T SO CARGONED o 0 - - 01 0 im0
s TSGR [V e e e
T T STMIBEAN  ARGASTONG R P L - A 00 o
T T SANTEMA DOTMARIGSE S 10 P - - Gafd 000 e 0
T TS CNCANES o Te e Lo oA 0 saiikos
T T o TG DS GB W nm P - M@ i eeneios
T TG T STEUDZAN GO W o P - M@ eemeios
Jrestigeuanprrsneivy s e merm s L @0 i s
T T DGO SWOVRCRM i P o - O 0 emiros
Jrestigsrni PP o v g i _
Fage 1

Pagelof5




6.3.2.1 Report Menu :Card Access Transaction

Under the Report Menu, user can modify and update SMARTGUARD Pro system databases. The data menu is categorized into 5 main groups.

· Card Holder Tracking

· Card Holder Distribution

· Log Transaction

[image: image23.png]. ]SmartGuard Pro Remote ver. 5.5.1.9 [16 Controller Version]

o Pl Semweett
(| Cord coess Transaction » Card Holder Tracking
7 ;

B

ndance Transat
aved Report

2003/07/24 14:44:21 (51) SmartGuard Stat Up.
200307724 14:4434 (56)Login

200307724 150753 CTR1 (5K) Controler Down
200307724 150756 5T)Alaim Acknowledged





6.3.2.2 Report Menu : Card Access Transaction -> Card Holder Tracking

This function will enable the user to print out the report that based on the card user transaction. The detail will be explain later. After user select this menu option, the screen on next page will be displayed. 

[image: image77.wmf]
The basic thing the user have to do is select the date and whether need to view one card holder or all the card holder. After that the user is required to select the transaction criteria. There are 3 types of query type, which are,

· First Transaction/Last Transaction

With select this type, the report will show the first and last transaction only. This means that the first record and the last record of the particular card holder will be show in the report.

· First Valid Transaction / Last Valid Transaction

With select this type, the report will generated only the first valid and last valid record.

· First Valid In Transaction / Last Valid Out Transaction

With select this type, the record will generated only the valid in and last valid out record.

On the other hand, user also allows to selects the first transaction time and last transaction time. This transaction time will link with the selected query type. One thing user have to remember is when user required to track the card user by using the first or last transaction time, user has to removed the mark on the “Don’t Care” check box. 

[image: image78.wmf]
User can also print the report will the particular transaction type. With click on the “Select Transaction Type” button, user able to select the tracking transaction to generated the report. 

[image: image79.wmf]
After doing all the selection, users have to click on the “Run Query” button to generate the card holder tracking report. The screen on the next page will be displayed. After viewing the transaction, user has to click on the “Preview” button to generate the report.

6.3.2.3 Report Menu : Card Access Transaction -> Card Holder Distribution

This function will enable the user to print out the report that based on the card holder distribution. Its mean that you can find out the card holders who is in the particular location.  

[image: image24.png]Jcard Holder Di jon Report (In Without Out)

Transaction Log File Location

1120030303 DEF
1120040330 DEF
1120040427 DEF
1120040428 DEF.
1120040506 DEF
1120040511 DBF
1120040512 DEF
1120040513 DBF
1120040514 DBF
1120040513 DEF
1120040528 DEF.
1120040531 DEF
1120040501 DEF

5 Program Fies
5 Cass TECH
&6

[ 5955113

~Tim

Fn 7 o [ 3] e
I e e

-Door Reader

deorl

¥ Don't Care.

From

000000

To

59339

[¥ Don't Care

0K

X corcel |





6.3.2.4 Report Menu : Access Transaction ->Log Transaction

The SMARTGUARD Pro software will log all transactions either from CASTLE controller or generated from SMARTGURAD Pro software. The logged data can be retrieved to formulate into informative report. The user can produce such report by choosing this function.

[image: image25.png][ Transaction Log File Location

5 Program Fies
5 CaSS TECH
&6
[ 555113

1120030303 DEF.
1120040330 DEF
1120040427 DEF
1120040428 DEF
1120040506 DEF
1120040511 DEF
1120040512 DEF
1120040513 DBF
1120040514 DBF
1120040513 DBF
1120040528 DEF
1120040531 DEF
1120040501 DEF.
1120040502 DEF.
1120040503 DEF
1120040504 DEF.
1120040503 DEF.
1120040510 DBF
1120040512 DEF.

¥ Don't Care

[Event Filter
e —
From G000
To 538589

From UrlseUser

[CadHoderMame |

To Urfsted User

¥ Don't Care.

Sefect Job Tieto Pirt

ClbTte

¥ Don't Care

[Depatment

o007 05F x| Seeel Depaert 1o i e
i - Contole
b p Selest Confroleto Pt ¥ Dont Care
fon [ 2P 3
To 23 Hv 59 3. DoorReader ——————————————————————
Solot Do 1o Pt oo
~Sort Order

List By Time

Select Trarsasion Type o Pl

[Transacton TypetoPint |

¥ Don't Care

) Log ik Viewsr

Reindex Log Files

VK

X Corce





Select the “Access Transaction”, the below screen will appear. At the top left corner “Transaction Log File Location” group is for the user to specify the source file to be used for report generation.

The basic thing the user needs to do is select the required transaction file. The transaction file naming convention is according to date stamp format, the first 2 character is to identify as transaction file, the next 8 character is the “YYYYMMDD” which will indicate the date of transaction happened and file extension is to indicate a database file.

To select a single source file, first the user need to move the mouse pointer to the desire file and click on it, a selected file will changed the color attribute to highlight color. To select multiple source files, the use is required to press the “CTRL” key and start clicking the required file. If the operation successful the selected files will be colored.

By this time the user can start generate the report, he/she just need to press  “Ok” button to create the report in preview form.

[image: image80.wmf]
If the user would like to do some time filtering, he/she is required to focus on time group. In this time group box, there is two setting which is “From” and “To” fields. Both fields will allow the user to configure the fetched record time range. Besides the time filtering option, the user can also set the printing order of the data field in other method by selecting the Sort Order list box that is resided at the sort order group box. Currently, the SMARTGUARD Pro software is able to support 6 different types of key order, 

1.  List By Time

2.  List By Card Number

3.  List By Job Title

4.  List By Department

5.  List By Transaction Type

6.  List By Door Reader

The default setting is List by time order which means all listed transaction will be sorted according to the time of the transaction occurs. 

To achieve better data grouping, the user can select the “Event filter” which appear at the top right corner. The user can specify the starting and ending range of the card number, starting and ending of the cardholder name, department, job title, controller and door reader. By selecting this event filter, it will instruct the SMARTGUARD Pro software to retrieve all the transaction data according to the above mention fetch condition.

“Transaction Log File Lister” has another function that is “Log File Viewer”. The user can select this button to browse though the transaction file. To operate this function, first the user needs to press the “Log Viewer” button. The below screen will be displayed. The user is required to select the file for viewing. The file selecting procedure is same with transaction file selection. Upon finishing the file selection, just click on “Open This Transaction Log File”. The data record from the selected log file will be displayed at the browse screen. The browse screen will allow the user to view through the records. To close this operation, please press on “Close” button.

[image: image81.wmf]
The SMARTGUARD Pro software will allow the user to preview the report before printing. The user can view and browse the entire report, if he/she has satisfy with the report then the user can select the “Printer” icon from the preview screen to physical print out the report. If the user would like to save the report into report file, he can select the file “Save” icon from the preview screen. The print preview screen also allows the user to configure the printer configuration. To abort the operation, the user is required to select the “Cancel” or “Close” button.

6.3.2.5 Report Menu :Time Attendance Transaction

To generate the time attendant report based on the cardholder clock in and clock out transaction. The user is required to select the “Time Attendance” menu.  Upon clicking the menu the screen on the next page will appear.

[image: image26.png]KT}

CadNo [Stafl Code. Name. Depatment [Datein

Date Out_[Time In_[Time Out [Auth In_[Auth 0+

Time In

Time Out

[ oscou I
Fec Tire I | e o

|

[Taeowine

~Meal Break

[“rneon NN | e
[Cetarre” I | Coere I

e |

TouloT /CteinTine I I | oo«

[

Aterdence sious

T
[ ettt S|

Rebuid Time Atiendance Eind Post Master

Save As ASCII Fil ‘Working Shift iew Master

an. [ — rmun L —

[ooe+Coao 3] .‘ [ Transaciors ]





The user is required to choose the “Rebuild Time Attendance Transaction” button to set-up the attendance transaction before the “Ok” button being pressed.

User is required to select 2 things, the processing date for record fetching and transaction capture reader type (in reader, in and out reader). The settings information will enable the SMARTGUARD Pro software build the time attendance transaction table according to the capture reader setting, process date and previously define filters.

In case the user would like to change the working hour setting of the organization, he/she can change it by selecting the “Working Hour” button. The entry operation is same with previous section. The “Working Hour” entry will allow the user to define the new time attendance report setting. The screen on the next page will be displayed after clicking the “Working Hour” button.

[image: image82.wmf]
Once the user has completed the definition, he/she should choose the “Rebuild Time Attendance Transaction” to reproduce the time attendance transaction table. A “Ok” button will start the reporting generation and “Cancel” will abort the operation.

The below is the sample time attendance report. The user can save the report file by choosing the “Save” icon and to produce the hard copy of the report, he/she should press the “Printer”. To abort the operation, just select the “Close” button.

[image: image83.wmf]
6.3.2.6 Report Menu :Card Access Transaction -> Load Saved Report

This function will enable the user to print out the report that previously saved in QRP format. 

[image: image27.png]BE® (1 |F8 BE| e

SmartGuard Pro Remote
Daily Time Attendance Summary Report

Re.  Awn By Late
Dateln Date Out Card No. Hame Department Shift In Qut In Out In Out In Out
R ——, cor Ok G000 G000 0000 0000 004D 000 0000 G0
a0 472003 010184 g Chew cor Ok G000 GoSD 0000 0000 00D G0 000 G0

Load report 20|

Lok [ 3 Evpor —  Semek

backup.ORP
Fie pame:

Files of type: [QuickReport ie (~0RF)

Open

Lo |
5 ==

=181x]

25/07/2003 11:10:07

Meal B. Out MealB.In  Total

Out LateBy In LateBy WH OT Late
o030 E000) 0000 VO 0000 0090 0000
o030 ©000) 0000 E0) 0000 0090 0000

0% Page 1ol 1




6.4 Download Menu

Under the download menu, the user can perform direct operations on CASTLE controller. The below functions are available for the user to perform.

· Reload Settings to Controller

· Update Card List in Controller

· Door Operations

· Retrieve controller Version

[image: image84.wmf]
As mentioned earlier, the down load operation must carry out with extra caution, this is due to the down loaded data will overwrite the existing CASTLE setting.  Especially, the “Security Off” command, it will permanently unlock the door. 

6.4.1 Download Menu : Reload Settings to Controller 

[image: image85.png]Card Holder Database Report

0lels ||| 1] als) 6ls| Fe]

E

Smart GuardPro
Card Holder DatabaseR eport
®emo Version)

e P e ROWE 2121

ot sy 1RO 21201

minatiran)  19A0U 21201
s engiae e fmotta vz
ooyt Coren amotta vz

-

Date 2088 92413

5EEEBEEEEEEEEEERBR ERARERRREEE

Paged 1

MEIE

Pagelof3



All the system setting that has defined earlier in the previous section are to be sending to the CASTLE controller. The below screen layout will be shown upon selecting Reload Settings command. 

The Reload Settings to Controller screen is consist of 3 list box. The top list box is the various type of setting to be sent to the controller. The left list box is the source destination (“Existing Controller List”) of the controller list and the right list box is the target destination (“Controller to be sent to”) of the controller list.

[image: image28.png]Select Setings o send

Update Controler Date and Time

Updal Daie and Tin
Clear Memary

Clear AniPassback L
Clear Lock Out

Indivical Door Seting
(Biobal Door Setfing
Card Lser List

Time Set List

Time Zane List
Holiday | it

Holday I List

Door Accessibilly List
Iterack Stalus

Floor Zane.

Floor AccessiillyList
eley Trigering List L
Fieset Allsvoept Card Users (Reset Contolle]
Fieset Alincluding Card User Lit Total Reset]





To download controller setting, first the user is required to highlight the controller name from the source destination which will be send and click “>” to transfer the selected item to the target destination. Second he/she should select the type of setting to be sent to the controller. (Individual Door Setting, Global Door Setting, Card User List, Time Zone List, Time Set List, Door Accessibility and Holiday List). Once the user confirmed on the download selection and target destination, the user can press “Send” command to execute it.  If the user would like to undo the target controller then he/she should highlight the correct item from the target destination by clicking “<” to reposition the selected item back to the source destination.

Besides that, the “<<” and “>>” buttons is for transferring all items.

6.4.2 Download Menu : Update Card List in Controller 

This function will allow user to control the card operation of CASTLE controller. The “Update Card List to Controller” screen is consist of 3 list box.  The top list box is the various type of card operation to be sent to the controller.  The left list box is the source destination (“Existing Controller List”) of the controller list and the right list box is the target destination (“Controller to be sent to”) of the controller list.

[image: image86.png]ain 0

‘AddNew Floor Plan Record

Gt FloorPlan File

Add Door Ta This Fleor Plan

Moy Floor Plan Record
Delete This Floo Plan Recard

R v TP P

Delete Device Paint From the Floor Plan

orierroe_ | |

User: [Castle]

Wed 26/04/2000 10:38:30 AM





To perform a download card operation, the user is required to highlight the controller name from the source destination that he/she would like to sent and click “>” to transfer the selected item to the target destination, then he/she should select the type of operation to be performed. (Install Card, Delete Card, Pin No, Card Expiry Status, and Door Accessibility). 

If the user would like to undo the target controller, he/she should highlight the item from the target destination by clicking “<” to reposition the selected item back to the source destination. Besides that, the “<<” and “>>” buttons is for transferring all items in between the source destination and target destination. 

One last thing the user need to do is select the card ranges for the selected controller. For all cards, please click the All Cards check box.  For selected range, the user is required to specify “From Card  #” for starting range and “To Card #” for ending range. Once, the user is confirmed on the selection and target destination, the user can press the “Send” command to execute it.  

6.4.3 Download Menu : Security Off

In normal occasion, all CASTLE doors is default to security on. When security on, the user is required to use an access card to swipe at the door reader for granting a door access, but in some cases, we need to free the door all the time. To carry out this operation, the user can select security off function, when this function being toggled the security of this door will permanently turn off. The door will always be released.  Neither a door duress alarm nor a door force open alarm will be generated.

[image: image29.png]Secuity OIf

|:Se\ecl Setings to sen

Pulse Doot Fiekease
5ecuty On

Fie Alam Mode O
Fie Alarm bode O

Xtows





The next screen layout will be shown upon selecting Security off option. The installed door listing will be displayed. To security off a door, just move the mouse pointer to the desire door and click “Ok” button to send the command to CASTLE controller. To abort the entire operation, please select the “Cancel” button.

6.4.4 Download Menu : Security On

This function is to turn on the security feature. Turning on the Security mode will cause the door back to lock status. By default all the doors are set to security mode on. This function will only be used to turn on a security mode that formally being turn off. The screen display of security on and user operation for this option is same with the above option (Security off).

[image: image30.png]Select Setings o send

Puise Door Release -
Secuiy On
Secuity OIf
Fie Alarm bode O
Fie Alarm bode O

Xtows





6.4.5 Download Menu : Pulse Door Open

This function will allows the user to perform a remote door release operation at the PC level instead of doing it at the CASTLE controller door readers. The user can select the targeted door from the displayed door list by highlighting the desire record and then follow by “Ok” button to execute it.

If a door is being released but never open and after the door release time is expired, it will be automated lock back by the CASTLE controller.  It seems that the pulse door open function is similar with the security off function. Basically, both of this command is look a like, the major different is the pulse door release will lock the door after the expiry of the door release time but the security off will never lock, unless a security on command being issued. 

[image: image31.png]Esisting Door Lit
51

Door o receive:

Xtows





6.5 Tools  Menu

Under this section, the SMARTGUARD Pro software will provides some useful utilities for e.g. changing the user password, back-up and restore system/transaction files. The complete list of utilities include:

· Change Card PIN

· Change Password

· Data Exporter

· House Keeping

[image: image87.png]Log
Select Transaction Log File

Er =] [Tri3380101.DBF
o |msmmsoee
1113981426 DEF

(= Progiam Files 7113981528 DBF
5 Ca5S TECH 1113390817 DEF

i 7119390917 DBF.

7119390312 DEF.
€0 Backup 1113330313 DBF
3 Phato 7119390320 DEF

7119390321 DEF.
119390322 DEF

assD)

Gpen e rsactonlogtie )|l Cose |





6.5.1 Tools Menu : Change Card PIN

This is a very important function because it will enable the user to configure and set the 4 digits secret pin number of the cardholder (pin mode or card + pin mode). In order to execute this function, the current log on user must have the Change Pin setting on during the System user entry. 

If the current log on user is being configured to set this setting, he/she will see the below screen display. The user must select the desire record from the card list and then press “Select Card” button to set the cardholder new pin number.

[image: image88.png]SmartGuard Pro v 4.3h [16 Controller Ver [TeleCass Sdn Bhd] EIES
iChg 3l = N &~ & 1]
System Data Repot  Downosd  Took Bbout it

2 [BlEE o] 6] o|@|#] ] 5 d] @] # [rcommcmafons =]

Latst AN Evet List | Lotest At Evet List [FIB31 P15 Door List | Contolr List| Card Holder Transacton |

e |
eplD [rafeer =] 4[4[

Desciption[Main Entiance Area Floor Pln Size > w732 hi364

2nd Floar

Last Trans : 2000/04/26 11:12:21 Logln





6.5.2 Tools Menu : Change Password

[image: image89.png]- a- [=)¢ K- =~ 04 -

System Data Repot  Download  Tools About Quit




The current log on user can change their password setting by selecting this command. Before any changes can be made. The user must input their log on password to get access to the password entry screen. If the input password is verified successful then the SMARTGUARD Pro software will prompt the user for the new password entry to change the password. The user must key in the password carefully, after that he/she is required to re input the new entered password to perform the password verification. The SMARTGUARD Pro software will only change the current password to the new one if the verification completed successful.

6.5.3 Tools Menu :Data Exporter  Transaction Log

The transaction exporter will generate the Castle raw transactions into ASCII file. The generating process will search through the user selected transaction file and use CAMS software card holder list to

locate for the first entry transaction and last transaction of a card holder attendance record. For more information about this feature, please click at the "How to Use?" button.

[image: image32.png][ Transaction Log File Location
Tr20030704 DBF

E
= |Toow7ieDEF
= 1120030724, DEF.
5 PROGRAM FILES

55 Cass TECH

(55 SMARTGUARDYS.5.1.9

| Transaction Coptured Fiom “Opton
 Ineadsr Orij I~ withFeader Information

€ Inand Out Reader

Data Exporting

02





6.5.4  Tools Data Menu :House Keeping  Back-up and Restore Data

The SMARTGUARD Pro software “Back-up and Restore Data” function is a file copy utility.  It will allow the user to back-up and restore data file from the hard disk to the floppy disk or versa.  The user should perform back-up operation regularly. This is to ensure the back-up system setting is being kept. In case of data corruption the user still can restore the old setting.

To perform a back-up or restore function, first the user should select the source file from the “From” group box and then choose the target destination at the “To” group box. If the user has decided on the action, he/she should press the “Start” button to begin the file copy and to abort the operation, please select the “Cancel” button.

During file copying, in case the target destination has consisted of an existing same source file. A pop up screen will be shown to attract the user attention, the user is required to confirm on the decision on overwriting the file or skip it.

[image: image33.png]e I
[T -] | DESro =co
recant.
S e S
B procrares cactein B procrares
£ CASS TECH EEmimen £ CASS TECH

55 SMARTGUARDVS 5.1 8

[Readme_Sgvs it
£ Backup SGHelp.chm

£ Export [SmartGuerdvs exe

£ Languages [SmartGuerdvs Log

£ Loopata [Whatshew_Sgvss1 st
3 OuData

& Preto

3 SysData

[ fles ¢

X core





6.5.4.1 Tools Data Menu :House Keeping  Clear Transaction Files

The SMARTGUARD Pro software has incorporate a data logging function which will save all events happen from the SMARTGUARD Pro software and CASTLE controller to the transaction file (daily basis, each day a log file will be created). 

The SMARTGUARD Pro software will continuously save the transaction events into the logging file and the file will be kept in the hard disk as long as no data clearing operation is being executed.

Therefore, from time to time the user is required to do the housekeeping jobs to clear the transaction files. As a result, the user is required to execute this command for deleting the unwanted file. Before carrying out this function, we always advise the user to back-up the transaction into backing storage media.

[image: image90.png]PCAamType |Contiuous Been
Orlne FootPlan o
BusOCommPat |Conm1
BusCommPar |NotInsaled
Modem Part Not taled

Company Name
Use Own Logo o
CadModeConial  |No
FileName : CompanyLogo BMP (size WxH:75x75)
User Defined #1
User Defined #2

UsePhotolmage  |No
233 -
=

Modfy | ] Cose




To operate this command, the user must select deletion filtering by selecting the starting date and ending date at the “From” and “To” fields. Upon, selected the deletion filter, press “Ok” button to start deletion and “Cancel” to abort the operation.

6.5.4.2  Tools Data Menu :House Keeping  Re index Database

This function will allow the user to rebuild a new index table of the database. The user is recommend to perform this operation regularly, this is to ensure all database contained an up to date and valid index file. Especially after completing a restore data file from the backing storage, the user must run the re-index database, failure to execute this command might cause data integrity problems.

The below screen will be displayed when the user selected Re-index database option, select “Yes” to begin the re-index process and “No” to cancel the operation.

[image: image91.wmf]
6.6 About  Menu

This function will allow the user to view the current executed SMARTGUARD Pro software release version. This information is important for the user for future software upgrading.

[image: image34.png]X

Bt 20040427 - 1840

SmartGuard Pro/32

r J ver. 55113

Castle Door Access Management System
= All Rights Reserved (c) 2004, Cass Technology Sdn Bhd
Homepage - iy casile com my





6.7 Quit Menu: Log Out

This function allows the current user to log out from the application without quitting the system. By doing so the subsequent user can log in to the system with their user ID and password. 

Before, the user can log out from SMARTGUARD Pro software, he/she must input the current log on password. If the password entry is valid, the below screen appear or else the software will notify the user with “Wrong password” message and resume the process with the current log on user ID setting.

[image: image92.wmf]
6.7 Quit  Menu : Short Down

This function will allow the user to shutdown the SMARTGUARD Pro software and return to the MS Window environment.

[image: image93.wmf]A confirmation screen will be displayed to get the user decision on quitting the software, if the user decide to quit, then he/she is required to key in the current log on password.

6.8 On-line Display Screen

As we mentioned at the earlier chapter, SMARTGUARD Pro software is a host of all CASTLE controller which monitor all CASTLE controller that is attached at the door access network. It also manages all card operation and door settings of all doors. 

If the user let the SMARTGUARD Pro software running and on-line around the clock then it will be able to guard, monitor and report all operational events that occurs at the CASTLE controller. On the other hand, if the user decide not to on-line the system every time, the CASTLE controller will buffer the transaction at their internal memory. By the time the SMARTGUARD Pro software re-connect with the door access networks again, all pending transaction will be retrieved.

From time to time, the SMARTGUARD Pro software will poll the CASTLE controller for the latest transaction. By doing so this software is able to keep track the status of the controller and get the latest information that involved at the door.

The SMARTGUARD Pro software provides 5 different type of on-line screen, which the user can choose, for display, and each display screen will show different type of operation status.

Basically, there are 5 different types of on-line display screen, 

1.  Latest all event list

2.  Latest all alarm list

3.  Floor plan display

4.  Door list display

5.  Controller list

The default displayed screen will be “Latest all event list”. The user can change to other on-line display screen by clicking the tab menu bar. Beside that, if the user has configured the software setting to switch on the on-line floor plan, then the floor plan on-line display screen will be brought to fore ground in case alarm transaction happened.

6.8.1 Latest All Event List

This on-line screen is designed to display all transactions occur at the SMARTGUARD Pro software. The user can identify the listed transaction event by referring to the description for the detail information. A time stamp on the transaction will explain the exact timing of the incident. The oldest transaction will always listed at the top of the list and the new coming transaction will be appended.  Beside the incoming transaction from CASTLE controller, it also records all operation command that is executed by the current log on user. This feature will allowed the system admin to keep track on system user daily operation. 

[image: image35.png]. ]SmartGuard Pro Remote ver. 5.5.1.9 [16 Controller Version]

[Normel <] I” Online Printing

Transacton |

200307724 150753 CTR1 (5K) Controler Down

40PM,





6.8.2  Latest All Alarm List

The display screen wills only display alarm events occur at the CASTLE controller. Apparently the SMARTGUARD Pro software is only supporting three types of alarm transactions, which are Controller down, Door force open and Duress alarm. Whenever the SMARTGUARD Pro software received these three events the software will play an Alarm beeping and log the received event into this screen.

[image: image36.png]. ]SmartGuard Pro Remote ver. 5.5.1.9 [16 Controller Version]

Login

[ Free Space 1551 Gigaytes 3





The user is required to investigate the happened events, once the reason of the alarm transaction has been identify, the user is required to acknowledge the alarm transaction. The alarm beeping will continue to sound as long as the alarm is in the alarm display screen, To reset the beeping sound, the user must press F8 to acknowledge. An acknowledged alarm will be removed from this screen and alarm acknowledgement transaction will be logged.

6.8.3 Floor Plan Display

This is a graphical map display screen, it contained with floor plan setting which has defined at the Floor Plan editing earlier. By default, the first record in the floor plan database will be showed, the user can always switch to different plan by pressing the record control at the top of the screen. As you see the floor plan will display the door object at the user defined location. In case any door alarm transaction occurs, the SMARTGUARD Pro software will change the color attribute of the door object. 


If the software setting has set the floor plan on-line, an activation of alarm will trigger the associated floor plan to be showed automatically. The user can identify the details alarm transaction by reading the “Latest Alarm Event List”. Once the user has confirms on the alarm transaction, he/she should acknowledge the displayed alarm by press F8 command.

Besides the display the alarm information, the floor plan screen also provide a short cut link for the user to execute a door commands. It can be done by double click on the selected door object. A door related operation screen will be displayed and wait for the user to select a command. The user can perform a security on, security off and pulse door open command. Even the door setting function can also be done via this pop up screen.

6.8.4 Door List Display

The door display screen is similar with the floor plan display screen, it show status of the door. The major different is that the “Door List Display” show data in the normal form instead of graphical form. The “Floor Plan Display” will only displayed the door items that is being defined during the floor plan editing, on the other hand, the “Door List Display” screen will displayed all installed door status. The user can also execute the doors related command by moving the highlight bar at the desire door record and then double click at the selected record. A command action pop up screen will be displayed and waiting for user action. . The user can perform a security on, security off and pulse door open command. Even the door setting function can also be done via this pop up screen

[image: image37.png]. ]SmartGuard Pro Remote ver. 5.5.1.9 [16 Controller Version]

[Normel <] I” Online Printing

Login

[ Free Space 550 Gigabytes 3





6.8.5 Controller List

The controller on-line display list will reflect the status of the CASTLE controller. If there is a communication error in between the SMARTGUARD Pro software PC with a CASTLE controller or hardware trouble at the controller, a controller down alarm will be generated by the SMARTGUARD Pro software and the controller heath status will be change from “Up” to “Down”. In such situation, the user must check the actual problem happened and then acknowledge the controller down alarm. If the communication in between the host and controller has resume then the controller status will be updated from “Down” to “Up” again. Total of 16 controller items will be showed, the “Installed” field will indicate whether a controller currently is being used or not?

[image: image38.png]. ]SmartGuard Pro Remote ver. 5.5.1.9 [16 Controller Version]

Castle 2/41

Login
L





6.8.6 Card Holder Transaction

This function is used to show an individual card holder transactions on a certain date.

[image: image39.png]. ]SmartGuard Pro Remote ver. 5.5.1.9 [16 Controller Version]

C | |

Free Space 1553 GigaBytes





Appendix A Procedure of create Own Company Logo 

System  Software Setting

The size of the company logo must be Weight x Height : 80 x 80. 

In order to create the logo, the user must have to follow the rules below.

1) Create the company logo

2) Save the file name as CompanyLogo.BMP

3) Save it in the path “c:\Program Files\Cass Tech\SmartGuard CS or the particular directory file

4) After that the user has to select the “Yes” from the Use Own Logo. 

5) The logo will appear as the screen below.

[image: image40.png]JEdit PC Setting

P Alam Type
Orine Flot Plan
Bus 0 Comm Pt
Bus 1 Comm Pt
Modem Part

No <]
[Comm1 =]
NotInsoled o]
NotInsalled

Company Name
Use Own Logo
Card Mode Contiol

User Defined #1

o -
o -

FileName : CompanyLogo BMP (size WxH:75x75)

User Defined #2
Use Phota Image.
2340

o -
1™ AutoTransaction Export
I~ Auto Card User Expiy Update

Xows





Next is the Company Name. If the user didn’t key in the Company Name, the report will not print the Company Name in the top of the report as the screen below.


If the user key in the Company Name in the fields as the screen below, then the output of the report will be different compare with the report above.

[image: image41.png]\_l_g_l_l_lN 1 st 5] ] oI CEEED

Gl Dambeschpat
R ot vardon. e

Py




� EMBED PBrush ���








� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���




















� EMBED PBrush ���








� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���








� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���








� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���








� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���





� EMBED PBrush ���








	


   
                                                                                                                                                Page   3

_185055392

_187101360

_187329072

_187847184

_188309688

_188637192

_188309288

_187519128

_187545200

_187399824

_187512696

_187208440

_187211904

_187302136

_187125400

_186657088

_186824464

_187082696

_187086368

_186942152

_186808256

_186535448

_186575552

_186146184

_151071888

_151771976

_152090040

_151099840

_151630560

_62309680

_150957760

_151017200

_148988928

_149440824

_148795328

_62309512

